| TENDER NO_09:SJMH.SERVICE,REPAIR AND CALIBRATION OF MEDICAL EQUIPMENT 2023/2024 KSHS: 2,500.00(TWO THOUSAND FIVE HUNDRED SHILLINGS ONLY) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM | PRODUCT | PRODUCT | PACK | CALIBRATION | SERVICE |
| NO | DESCRIPTION | SPECIFICATION | SIZE | COST | COST |
| SRSG001 | STAND-BY GENERATOR | CUMMINS | 1 |  |  |
| SRCR001 | COLD ROOM | MORGUE | 1 |  |  |
| SRAM001 | ANAESTHESIA MACHINE | MINDRAY WATO EX-20 | 1 |  |  |
| SRAM002 | ANAESTHESIA MACHINE | MINDRAY WATO EX-55 | 1 |  |  |
| SRPM001 | PATIENT MONITOR | MINDRAY | 1 |  |  |
| SRPM002 | PATIENT MONITOR |  | 1 |  |  |
| SRHM001 | HAEMATOLOGY MINDRAY |  | 1 |  |  |
| SRM001 | MICROPIPPETE |  | 1 |  |  |
| SRBC001 | BSC CABINET |  | 1 |  |  |
| SRUA001 | URINE ANALYZER H10 |  | 1 |  |  |
| SR | URINE ANALYZER NUA 500 |  |  |  |  |
| SRB001 | BIOELAB | ES-120 | 1 |  |  |
| SRH001 | HUMACOUNT |  | 1 |  |  |
| SRHD001 | HB DIASPECT |  | 1 |  |  |
| SRCA001 | COAGULATION ANALYZER |  | 1 |  |  |
| SRI001 | IMMUNOANALYZER |  | 1 |  |  |
| SRT001 | TIMER | DIGITAL | 1 |  |  |
| SRT002 | THERMOMETOR | DIGITAL | 1 |  |  |
| SRBR001 | BLOODBANK REFRIGERATOR | ARCTIKO | 1 |  |  |
| SRBBR001 | BIOMEDICAL BLOODBANK REFRIGERATOR | HAIER | 1 |  |  |
| SRSEA | SPOTCHEM EL ANALYZER |  | 1 |  |  |
| SRCC | CD4 CYTOMETER |  | 1 |  |  |
| SRHAO | HOT AIR OVEN |  | 1 |  |  |
| SRI | INCUBATOR |  | 1 |  |  |
| TOTAL |  |  |  |  |  |

REQUIREMENTS FOR MACHINE SERVICE AND CALIBRATION

BSC CABINET ---- The Engineer should  be a certificied biosafety cabinet engineer with a certicate to show.

CALIBRATION---- Engineer to be from the National Public Health Laboratory.

----- The company to be ISO certified.

N/B – Recommend the machine to be serviced by the engineer expert rather than being handled by different people every year.