| TENDER NO 06:SJMHM:ELECTRICAL 2025/2026 KSHS: 2000.00 ( TWO THOUSAND SHILLINGS ONLY) |  |  |  |  |
| --- | --- | --- | --- | --- |
| ITEM | PRODUCT | PRODUCT | PACK | UNIT OF |
| NO | DESCRIPTION | SPECIFICATION | SIZE | PURCHASE |
| EFT001 | FLOURESCENT TUBE -LED | 2FT (TRONIC/POWERMAX) | PC |  |
| EFT002 | FLOURESCENT TUBE -LED | 4FT (TRONIC/POWERMAX) | PC |  |
| EFL003 | FLOOD LIGHT | 50W (TRONIC) | PC |  |
| ET001 | TRANKING | FULL | PC |  |
| EP001 | PATRICE (STANDARD) | DOUBLE | PC |  |
| EP002 | PATRICE (STANDARD) | SINGLE | PC |  |
| EFC001 | FLEXIBLE CABLE (3 CORE) | 2.5MM2 BLACK | PC |  |
| EFC002 | FLEXIBLE CABLE (3 CORE) | 1.5MM2 BLACK | PC |  |
| ES001 | SOCKET | DOUBLE OUTLET 13A | PC |  |
| ES002 | SOCKET | SINGLE OUTLET 13A | PC |  |
| EFC001 | FITTING COMPLETE | 4FT | PC |  |
| EFC002 | FITTING COMPLETE | 2FT | PC |  |
| ESN001 | STEEL NAILS | PKT | PKT |  |
| ECT001 | CABLE TWIN WITH EARTH WIRE | 2.5MM2 (EAST AFRICA CABLE) | ROLL |  |
| ECC001 | CABLE CLIPS | STANDARD 12MM | PKT |  |
| EOB001 | ORDINARY BULBS | 75W PHILIPS | PC |  |
| ETP001 | TOP PLUG | STANDARD | PC |  |
| EBH001 | BULB HOLDER | STANDARD | PC |  |
| EBHS001 | BULB HOLDER SCREW | STANDARD | PC |  |
| EIT001 | INSULATING TAPE | STANDARD THE BIG SIZE | PC |  |
| EGWS001 | GANG WAY SWITCH | 1 | PC |  |
| EGWS002 | GANG WAY SWITCH | 2 | PC |  |
| EGWS003 | GANG WAY SWITCH | 3 | PC |  |
| EB001 | BULB | SCREW TYPE 125 W | PC |  |
| EESB002 | ENERGY SAVER BULB-LED | 7-9W TRONIC |  |  |
| EESB003 | ENERGY SAVING BULB-LED | 7-9W SCREW TYPE (TRONIC) | PC |  |
| EAF001 | 13AMP FUSES | PACKET | PACKET |  |
| EEC001 | EXTENSION CABLES | POWER MAX | PC |  |
| EA001 | AVS 30A | SOLLARTEK | PC |  |
| ESH001 | SHOWER HEATER(SALT) | 4 TEMPERATURE CONTROL | PC |  |
| EFB001 | FROSTED BULB | 40W | PC |  |
| ESW001 | SOLDERING WIRE | STANDARD | ROLL |  |
| ECP001 | CONDWIT PIPE | ½ STANDARD | BUNDLE |  |
| ECPC 001 | CONDWIT PIPE CONNECTORS | 1/2STANDARD | PACKET |  |
| ECC001 | CONDWIT CLIPS | ½ STANDARD | PACKET |  |
| EFG001 | FRIDGE GUARD | SOLLATEK | PC |  |
| ECTWE001 | CABLE TWIN WITH EARTH WIRE | 1.5MM2 (EAST AFRICA CABLE) | ROLL |  |
| ECG001 | CONTA GLUE | 1PC | 500ML |  |
| EWS001 | WOOD SCREW | ½’’ | PKT |  |
| EWS002 | WOOD SCREW | 1’’ | PKT |  |

N/B KINDLY NOTE THE PRICES WILL BE EFFECTIVE FROM 1ST JULY, 2025